## Sheet1
Feature | Test Case | Steps to execute test case | Expected Output | Actual Output | Status | More Information
MRI Upload | Upload valid MRI image | 1. Login as radiologist 2. Go to upload section 3. Upload valid axial/sagittal MRI scan | Image uploaded successfully | As expected | Pass | Tests UI and backend integration
MRI Upload | Upload invalid/corrupted MRI image | . Attempt to upload an incomplete/corrupt image | Error message: "Invalid file format" | As expected | Pass | Checks validation and error handling
Lesion Segmentation (U-Net) | Generate segmentation mask | 1. Upload MRI scan 2. Trigger U-Net segmentation | Lesion mask output displayed | As expected | Pass | Ensures segmentation pipeline is working
MRI Classification (EfficientNet) | Classify uploaded scan | 1. Upload MRI 2. Trigger classification | Output: MS Axial / MS Sagittal / Control | As expected | Pass | Verifies EfficientNet model prediction
Result Display | Frontend prediction display | 1. Upload MRI 2. View classification and segmentation output | Prediction and mask shown | As expected | Pass | Confirms frontend is integrated with backend
Role-based Access | Radiologist access test | 1. Login as radiologist 2. Upload and analyze image | Full access enabled | As expected | Pass | Checks role-based permission logic
Role-based Access | Guest user access test | 1. Login as guest 2. Try uploading MRI | Upload blocked, read-only access | As expected | Pass | Confirms restricted access for non-privileged users
Preprocessing Pipeline | Preprocessing verification | 1. Upload image 2. Monitor logs or preprocessed image | Image resized/augmented correctly | As expected | Pass | Validates augmentation and normalization
System Performance | Output time test | 1. Upload image 2. Measure time until prediction is returned | Output within 5 seconds | As expected | Pass | Ensures performance for clinical usability
Integration Flow | End-to-end pipeline validation | 1. Upload image 2. View complete flow from input to output | Full pipeline works smoothly | As expected | Pass | Verifies system integration and consistency